## Slide 1: Cara kerja PID Control
Content :
Introduction
What is control system (Input vs output)
Open loop system vs close loop system
Example of open loop system
Example of close loop system
How PID Control works
Step by step PID Control explained (proteus simulation)
Speaker : Muhammad Husni, S. Pd
Python Programmer

## Slide 4: Timeline
19.30-21.00 : discussion

## Slide 5
Name : Muhammad Husni Muttaqin, S. Pd.
Birth date : 5 June 1998
Hometown : Bandung
Current Job : Python Programmer at PT Syergie Indoprima
Experiences : - 2019 : Dynamics Positioning System control system engineer on cable ship kalibaru – untung jawa 20Kv cable installation (PT Syergie Indoprima)
- 2019 : Dynamics Positioning System control system engineer on cable ship lampung – pahawang 20Kv cable installation (PT Syergie Indoprima)
- 2020 : Dynamics Positioning System control system engineer on cable ship palapa ring tengah cable maintenance (PT Syergie Indoprima)
- 2021 - 2022 : Electronics and control system engineer for Vent-I (PT Syergie Automa Teknologi)
-2022 : Lightning Arrester Analyzer (LAPI ITB and Petronas Carigali, Gresik)
- 2022 : Underwater ROV RnD Engineer (PT Syergie Indoprima)

## Slide 6: My experience : DPS System
Main Propeller
Propeller 1
Propeller 2
Propeller 3
Propeller 4
Control room
Gps, wind sensor, dps gui interface
My DPS System experiences:
Kalibaru – pulau seribu
LCT SJP186 – Lampung pahawang
LCT CHH – Palapa ring Tengah Ondong – Manado Km6 - Km12
MQTT connection

## Slide 7: Based on real research story

## Slide 8
Chart: PID Control

## Slide 9: DISCLAIMERRRRR…..
….only practical example

## Slide 10: DISCLAIMERRRRR…..
Goal of this content
Can make simple PID System in simulation

## Slide 11: Introduction

## Slide 13: Life are much easier. Thanks to Arduino 

## Slide 14: Introduction

## Slide 15: Introduction

## Slide 16: Input vs output

## Slide 17: Input vs output

## Slide 18: Open loop system vs close loop system

## Slide 19: Example of open loop system
MINI GAME OPEN LOOP CONTROL 01

## Slide 20: Example of close loop system
SHOWS PID WORKS

## Slide 21: Summary of openloop vs closeloop

## Slide 22: Close loop system
On – Off CONTROL
PID CONTROL

## Slide 23: Close loop system
On-Off Control
On off control
sensor
actuator
Error (e)
setpoint
output

## Slide 24: How to convert block diagram to code

## Slide 25: On – off control

## Slide 27: Heater parameter
Ambient temperature : 0
C/W : 1
Oven time constant : 3
Heater Time constant : 3
V/C : 0.08
W : 4

## Slide 28: COMPIM

## Slide 29
Chart: on-off control
Chart: PID Control

## Slide 30: Close loop system
On-Off Control advantage :
- easy to implement
- easy to debug
-
-
-
On-off Control Weakness:
- hard to achieve stability
-
-

## Slide 31: Close loop system
On-off Control Weakness:
- hard to achieve stability
Believe or not ??????
To solve this stability problem there are Improvement by using PID CONTROL

## Slide 32: Close Loop Control

## Slide 33: How PID Control works
Kp = ???????
Ki = ??????
Kd = ???????

## Slide 34: How PID Control works
Proportional control

## Slide 35: How PID Control works
Integral control

## Slide 36: How PID Control works
Integral control
OR
HOW……… ?????????

## Slide 37: Riemann sum

## Slide 38: Soooo….

## Slide 39: How PID Control works
Derivative control

## Slide 40: How PID Control works
Derivative control
OR
HOW……… ?????????

## Slide 41: How PID Control works
Derivative control
“numerical derivation”
https://mathworld.wolfram.com/NumericalDifferentiation.html#:~:text=Numerical%20differentiation%20is%20the%20process,more%20difficult%20than%20numerical%20integration.

## Slide 42: How PID Control works
Derivative control

## Slide 44: Step by step PID Control explained (proteus /tinkercad simulation)

## Slide 45: Step by step PID Control explained (proteus /tinkercad simulation)
OR

## Slide 47: If PID Tune Well
Chart: PID Control
Chart: PID Tuned Well

## Slide 49: Step by step PID Control explained (proteus /tinkercad simulation)
1. Define setpoint
You can change this variable from potensiometer, keypad, and another way for example from IoT Connection

## Slide 50: Step by step PID Control explained (proteus simulation)
2. Reading sensor (analogRead from heat sensor)

## Slide 51: Real hardware PID control demonstration
3. Set sensor filter

## Slide 52: Real hardware PID control demonstration
Source :https://www.megunolink.com/documentation/arduino-libraries/exponential-filter/
Note:
Revision from my research range value is 0-1.0

## Slide 53: Step by step PID Control explained (proteus /tinkercad simulation)
4. Calculate error

## Slide 54: Step by step PID Control explained (proteus /tinkercad simulation)
5. Proportional control

## Slide 55: Step by step PID Control explained (proteus /tinkercad simulation)
6. Integral control

## Slide 56: Step by step PID Control explained (proteus /tinkercad simulation)
7. Integral Windup
Main idea :
To limit Control Signal Value
What if control signal when not limited
For example the max value of pwm is 255, what happen if we insert 256
It will back to zero 

## Slide 57: Step by step PID Control explained (proteus /tinkercad simulation)
7. Integral Windup

## Slide 58: Step by step PID Control explained (proteus /tinkercad simulation)
8. Derivative Control

## Slide 59: Step by step PID Control explained (proteus /tinkercad simulation)
9. Summing PID

## Slide 60: Step by step PID Control explained (proteus /tinkercad simulation)
10. Saturation
Tricks:
Saturation = max pwm– min pwm
Example 1 :
Min pwm = 0
Max pwm = 255
Saturation = 255 – 0 = 255
Example 2:
Min speed esc = 1000
Max speed esc = 2000
Saturation = 2000 – 1000 = 1000

## Slide 61: Step by step PID Control explained (proteus /tinkercad simulation)
10. control signal to output code
Traditional PWM OUTPUT
ESC BLDC Motor

## Slide 62: Step by step PID Control explained (proteus /tinkercad simulation)
11. Additional code

## Slide 63: Step by step PID Control explained (proteus /tinkercad simulation)
How to calculate kp ki kd
Maybe next episode…..